## Slide 1
Status of Aerogel detector
for high pT upgrade at PHENIX
Budget from US-J project for next two years :
(1) 400 liters of Aerogel
(2) 600 photomultiplier tubes
(3) read-out electronics
(4) detector construction
(5) one additional TOF panel
Preliminary design
12x12x10 cm3, 300 segmentations, 2 tubes each
2x2 m2 (4 TOF panels) at r=4.5m in west arm
Laser test for Aerogel optical properties
determine absorption , scattering for the different
wave length and the index of Aerogel
Beam test with several prototypes at KEK-PS
Belle type (2 PMTs directly on both sides of Aerogel)
Mirror type (mirror and PMT behind of Aerogel)
reflective material, thickness, position, angle
and momentum dependence
Simulation study with pisa
5% occupancy with Hijing central Au+Au
(20% for all the charged tracks)

## Slide 2
PMT
Laser
PMT
PMT
Laser test
(a)
(b)
(c)
setup (a) for different wave lengths
compare measurements and optical monte-carlo to
determine absorption , scattering with 2 minimization

## Slide 3
Beam test at KEK-PS, 2001/Dec

p
beam
* logZ scale

## Slide 4
Type | Reflector | Index | Mom. (GeV) | Nphoto-ele (PMT1) (R6233.1500V) | Nphoto-ele (PMT2) (R6233.1500V)
Belle | Goretex | 1.018 | 3 | 12 | 13
Belle | Millipore | 1.018 | 3 | 9 | 10
Belle | Tyvek | 1.018 | 3 | 8 | 8
Mirror (Flat) | Tyvek | 1.018 | 3 | 9 | ―
Mirror (Parabolic) | Tyvek | 1.018 | 3 | 9 | ―
PMT
PMT
PMT
Belle Type
Mirror Type
beam
described by the
expected Cherenkov
radiation given by
the index and pion mass
z
x

## Slide 5
Belle type with
Goretex reflector
Mirror type with
Tyvek reflector
x
x

## Slide 6
5% occupancy with
Hijing central Au+Au
number of fired block / event
z (cm)
x (cm)
background sources
for tracks which hit
any of Aerogel block,
many events overlaid
magnet
RICH mirror
Aerogel
beam line
PISA simulation with Aerogel

## Slide 7
Aerogel counter
prototype in the
test beam line at
KEK-PS
2001/Dec
Aerogel in a Belle prototype
Konno, Ohki
Aerogel counter
simulation
Takagi

## Slide 8
Summary of status
definition of the project
*to enhance PID capability of PHENIX
upto 10GeV/c with Aerogel, TOF and RICH
*~400 liters of Aerogel with ~300 segmentation,
which is 4 TOF panels equivalent
(2) Detector R&D
*2001/Dec test experiment at KEK-PS
*Belle/mirror types are tested, the best result (>20pe)
is with Belle type with 3”PMT and Goetex reflector.
*Next test beam is planned before 2002/Summer.
*Detailed study for the absorption and scattering length
as a function of wave length with laser and spectrometer
is in progress.
(3) PISA simulation
*PISA simulation activity has been started at Tsukuba,
~300 Aerogel counters have been installed in west arm.
*Occupancy and background studies have been started.
(4) Budget and construction
*Purchase of Aerogel and PMTs with US-J budget will
be started in 2002 and finished in 2003.
*Dubna may be interested in the construction of detector,
Y.Miake will visit Dubna in March for further discussion.
(5) Issues and concerns
*2 TOF panels will be moved from east arm to west. 1 spare
panel exists at BNL. 1 panel will be newly build.
*Read-out electronics designed for RICH will be copied,
but it needs to be studied in detail.