## Slide 1: Mu-metal shield for PMT of Aerogel counter
-Maya SHIMOMURA
-Satoshi TAKAGI
-Yoshihiko NAGATA
April 24, 2003

## Slide 2: Bench test setup
Helmholtz coil
PMT
Gauss meter
Myu-metal shield
Light guide
LED
B-field : parallel
B-field : vertical
B
B

## Slide 3: N.P.E. vs ADC mean at parallel B-field
Myu-metal shield is needed.
No shield
HAMAMATSU shield
(ref.BACK UP SLIDE)
0 G
14G
Notes: X-axis is ADC mean and Y-axis is Number of Photo-electron.
The slope of each line means the Gain of PMT for each B-field (0-14G).
What I want to say here is that there are certain difference between using a shield and not using a shield.

## Slide 4: What will be shown next .
Number of Photoelectron vs Magnetic field (vertical).
The ratio of ADC mean vs Magnetic field (vertical).
Number of Photoelectron vs Magnetic field (parallel)
The ratio of ADC mean vs Magnetic field (parallel)
Notes: To decide what kind of my-metal shield is best, we will see the comparison of following components to Magnetic field.

## Slide 5: Pictures
8cm tapered shield
Following myu-metal
shield-conditions were tested.
no-shield
4cm(Length)- 0.2mm(thickness)
4cm(Length)- 0.5mmm(thickness)
8cm(Length)- 0.2mm(thickness)
8cm(Length)- 0.5mm(thickness)
Tapered 8cm(Length)- 0.2mm(thickness)
HAMAMATSU made -1.0mm(thickness)

## Slide 6: Magnetic field(vertical) vs Number of Photoelectron
Notes: X-axis is Magnetic field and Y-axis is Number of Photoelectrons.

## Slide 7: Magnetic field(vertical) vs the ratio of ADC mean

## Slide 8: Magnetic field(parallel) vs Number of Photoelectron

## Slide 9: Magnetic field(parallel) vs the ratio of ADC mean

## Slide 10: BACK UP SLIDE

## Slide 11: No shield at parallel B-field

## Slide 12: HAMAMATSU-shield at parallel B-field

## Slide 13: No shield at Vertical B-field

## Slide 14: HAMAMATSU-shield at Vertical B-field

## Slide 15: Magnetic field(parallel) vs Conversion factor

## Slide 16: Magnetic field(vertical) vs Conversion factor

## Slide 17: Magnetic field(vertical) vs ADC mean

## Slide 18: Magnetic field (parallel) vs ADC mean

## Slide 19: 8cm(Length)-0.5mm(thickness) shield , B-filed: forward

## Slide 20: 8cm(Length)-0.2mm(thickness) shield , B-filed: forward

## Slide 21: 8cm(Length)-0.2mm(thickness) tapered shield , B-filed: forward