## Slide 1: T0 status
ShinIchi Esumi
Univ. of Tsukuba
contents
(1) Do we really need T0?
(2) rate estimate and statistics
(3) design and installation

## Slide 2
charged particle
dn/dy, dn/d
distribution
bbc1
bbc2
(BBC1>0 &
BBC2>0)
number of hits
in a single BBC
sum number of
hits in both BBCs
BBC or trigger : 81%
BBC and trigger : 42%
Pythia : by Hiroaki.O
74%
51%
Fritiof was found
to be similar by
Masaya.O.

## Slide 3
number of hit
in T0 and TOF
number of hit
in TOF with
T0/BBC trigger
T0 trigger
: 29%
BBC trigger
: 81%
ratio relative to
the original TOF
hit dist. (a)
(a)
NO bias
multiplicity
bias
T0 trigger
BBC trigger

## Slide 4
If the bias is only on the multiplicity of the event,
this can be estimated with 100% NTC efficiency
and the bias can be corrected as a function of event
multiplicity.
However, if this bias depends on the particle species
or momenta, it can not be corrected even with NTC.
That kind of bias can only be known by selecting
events with or without hit on BBC, if we have T0
which has by definition no bias and provids us PID.
Without T0, we can do PID only in events with hit on
BBC. So as long as BBC does not have 100% efficiency,
we need T0 to measure PIDed spectra without bias and
even to know the bias itself.

## Slide 5
(1) Luminosity 1030 (cm-2sec-1) : 50kHz pp interactions
(2) Trigger rate (1st level) : the same by 100% NTC trigger
(3) DAQ/Data rate : 1kHz gives 90Mevents/day.
(4) 100M min. bias NTC triggered events gives
10M charged tracks in TOF.
(5) 0.5M identified protons, K/p separation up to 5GeV/c
expected power low Pt distribution (next slide)
few counts in 200MeV/c bin at 5GeV/c (next slide)
(6) 1 day with NTC trigger or 1/3 day with NTC+T0 trigger
without safety factor
Trigger efficiency
NTC: 100%
BBC: 80% (40%)
T0: 30%
TOF: 10%
Trigger options
(a) beam cross
(b) a+NTC
(c) a+NTC+T0
(d) a+NTC.or.BBC.or.T0

## Slide 6
dN/dPt (counts
per 100MeV/c bin
for 1M proton tracks)
Pt (GeV/c)
exp(-mt/0.3)
power low (130GeV)
proton data (30GeV)
p-bar data (30GeV)
exp(-mt/0.17)

## Slide 7
(plan)
First 1 week with transverse polarization
Next 4 weeks with longitudinal polarization
(proposal)
1+1 days T0 in trigger for trans./long. polarization
1+1 weeks T0 in read-out with NTC trigger
remove T0 from IR after 2 weeks (if requested)
(reason)
reference for non-polarized HI beam collisions
(systematically remaining long. polarization in
the trans. polarized beam)
(more)
asymmetry of identified charged hadron (especially
high Pt proton, anti-proton) with respect to the
polarization

## Slide 8: Do we like to have T0 installed?
If yes, let’s continue to do it,
if not, stop here.

## Slide 9
Installation steps in 4 shifts (Susumu.S and Brendan.F)
(1) attach bands to the nosecone (5hours)
(2) adjust alignment of south/north bands (2 hours)
(3) fix 2 common platforms for 8 PMT supports (1hour)
(4) attach 4 edge PMT supports to the platform (1hour)
(5) check south/north phi with 2 dummy pipes (2hour)
(6) attach other PMT supports to the platform (2hour)
(7) mount T0 with PCR one by one (6 hours)
(8) connect all fibers of PCR to PMT (2 hours)
(9) installing signal and HV cable (3hours)
(10) Check signals (2hours)
(a) All the steps will be exercised with dummy real
size nosecone model in Tsukuba.
(b) Carrying the parts into the IR will be tested with
dummy parts especially for the band and T0.

## Slide 12
Hiroshi.T

## Slide 13
Hiroshi.T

## Slide 14
Hiroshi.T

## Slide 15
Hiroshi.T

## Slide 16
Hiroshi.T

## Slide 17
Hiroshi.T

## Slide 18
Hiroshi.T