## Slide 1
Effect of magnetic field
Top : http://www.phenix.bnl.gov/phenix/project_info/integration/config_management/envelope_control
Bottom : PHENIX Conseptual Design Report , Chapter4 Magnets (1993)
PMT for strong magnetic field (～4000 gauss)
Hide PMT from charged particle
B

## Slide 2
PMT selection
※ HAMAMATSU PHOTONICS K.K.
R5924 fine mesh PMT
Operate in high magnetic field
High gain ～400μA ( cf. R3809 MCP type ～1０μA )
Rise Time ‥‥‥ 2.5 nsec
T.T.S ‥‥‥ 440psec
Anode Effective Area ‥‥‥ Φ39mm (min)
Current Amplification
at 0 Tesla
at 0.5 Tesla
at 1.0 Tesla

## Slide 3
Light Guide
Cross section
Scintillator face
2cm×8cm
PMT
scintillator
PMT face
4cm×4cm
① inside
② outside
100 %
? %
L cm
Few difference between inside rod and outside
and get many photon when L=10cm

## Slide 4: Light Guide ( details )
Cross section
scintillator
inside
outside
100 %
? %
L cm
PMT
Scintillator face
2cm×8cm
PMT face
4cm×4cm
① no reflection
② rectangle
③ fish tail
④ rectangle + fish tail
4cm
L [cm]
L [cm]
L [cm]
L [cm]

## Slide 5
Expected Time Degradation
cross section
2cm×2cm ×4
2cm×8cm
‥‥ ①outside‥‥‥
‥‥･②inside‥‥‥･
③
PMT
scintillator
x [cm]
・Scintillator should be divided into four.

## Slide 6
Expected T0 Resolution
PMT
Light guide
charged particle
scintillator
⊿TL
⊿TR
x [cm]
T0 resolution :
(x=50cm)